PLEASE TYPE OR PRINT CLEARLY IN BLACK INK

Project Name: __________________________________________________________________

Contract/Bid Number: ___________________ Work Assignment Number: _________________

Contractor’s Name: ______________________________________________________________

Contractor’s Address: ____________________________________________________________

Contractor’s Signature: ___________________________________________________________

For City Use Only

(Refer to Section 01300 – Submittals)

Engineer: _____________________________________________ Date: ___________________

Reviewed, No Comments: ____

Reviewed, Comments as Noted: ____

Reviewed, Comments Attached – Resubmit: ____

Rejected, Revise and Resubmit – Comments Attached: ____

Not Reviewed: ____

City Project Manager: ___________________________________ Date: ___________________

Comments: ____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

With the submission of this document, the CONTRACTOR understands that the use of the following selected items, as individually indicated by the use of an “X”, is mandatory.

Recommendations for Approved Alternates, using other items that are not contained within this Checklist, shall be initiated and submitted by the CONTRACTOR in accordance with Section 00800 – General Provisions to the CITY and the ENGINEER for review and approval at least ten (10) calendar days in advance of need.

It is also understood by the CONTRACTOR that the CITY and the ENGINEER shall reject materials and products not in accordance with this Specifications and this Checklist.

Shop drawings shall be required for all structures and similar items not contained on this checklist, such as manholes, wet wells, and other castings.

Four (4) sets of the CONTRACTOR’s and the ENGINEER’s executed APPROVED MATERIALS CHECKLIST and any necessary shop drawings shall be submitted to the CITY and the ENGINEER for its use and approval, plus the number of sets needed for the CONTRACTOR’s use.  Ordering materials and products without specific written approval from the CITY of the submitted list and shop drawings is NOT recommended and is done at the CONTRACTOR’s sole expense and responsibility.

NOTE:  The latest changes approved by the Committee are indicated by “underlining” and deleted items by “strikethroughs”.

| Wastewater Category 1 of 10: VALVES AND ACCESSORIES |  |  |  |  |
| --- | --- | --- | --- | --- |
| Item To Be Used | Manufacturer | Part Number |  | Comments |
| Automatic Combination Air / Vacuum Release Valves: |  |  |  |  |
|  | H-Tec | Model 986 |  |  |
|  | Val-Matic | Model 38 |  |  |
| Gate Valves 16-inch Through 48-inch (C-515, Resilient Seated, With Side Actuators, if required): |  |  |  |  |
|  | Mueller | A-2360 | Epoxy Coated |  |
|  | McWane/Clow | F-6100 | Epoxy Coated |  |
| Gate Valves 4-inch Through 12-inch (C-515, Resilient Seated Only): |  |  |  |  |
|  | Mueller | A-2360 | Epoxy Coated |  |
|  | McWane/Clow | F-6100 | Epoxy Coated |  |
| Check Valves: |  |  |  |  |
|  | Kennedy |  |  |  |
|  | Mueller |  |  |  |
| Plug Valves (Full / 100% Port): |  |  |  |  |
|  | DeZurik |  |  |  |
| Insertion-Valves: |  |  |  |  |
|  | TEAM | InsertValve 4”-12” |  |  |
|  | Hydra-Stop | IV-250 / IVP-250 |  |  |
| Air / Vacuum Release Valve Enclosures (Medium Green): |  |  |  |  |
|  | Water Plus Corp. | Model 131632 |  | W/Pin Allen Type Lock |
| Air / Vacuum Release Valve Service Saddles (Epoxy With Stainless Steel Straps): |  |  |  |  |
|  | Mueller |  |  |  |
| Air / Vacuum Release Valve Corporation Stop: |  |  |  |  |
|  | Mueller |  |  | Stainless Steel - Ball Type |
| Air / Vacuum Release Valve Curb Stop: |  |  |  |  |
|  | Mueller |  |  |  |
| Tapping Sleeve (Fabricated Steel Mechanical Joint (Fusion Bonded)): |  |  |  |  |
|  | JCM | Series 414 |  |  |
| Valve Box With Lids (5¼ -Inch, ASTM A48 30B Heavy Duty Cast or Ductile Iron, With “SEWER” cast into the lid top): |  |  |  |  |
|  | Tyler | 461-S, 462-S |  | Must be cast in USA |

| Wastewater Category 2 of 10: PIPE MATERIALS AND ACCESSORIES |  |  |  |  |
| --- | --- | --- | --- | --- |
| Item To Be Used | Manufacturer | Part Number | Comments |  |
| PVC (Light Green) 4-inch and Larger Pipe (AWWA C-900, DR18) |  |  |  |  |
|  | Bristolpipe |  |  |  |
|  | Certainteed | Certa-Flo Greenline |  |  |
|  | J-M Manufacturing |  |  |  |
|  | Ipex |  |  |  |
|  | Diamond Plastics |  |  |  |
|  | Freedom Plastics |  |  |  |
|  | National Pipe |  |  |  |
|  | NAPCO (North American Pipe Company) |  |  |  |
|  | Underground Solutions | Fusible PVC | Requires COSU Approval |  |
| PVC Gravity Pipe – Mains and Services (SDR 26, Light Green In Color) |  |  |  |  |
|  | Certainteed |  |  |  |
|  | Can-Tex |  |  |  |
|  | J-M Manufacturing |  |  |  |
|  | Diamond Plastics |  |  |  |
|  | Freedom Plastics |  |  |  |
|  | Bristolpipe |  |  |  |
|  | National Pipe |  |  |  |
|  | Vassallo |  |  |  |
|  | NAPCO (North American Pipe Company) |  |  |  |
| HDPE Pipe (DR11, Green Striped): |  |  |  |  |
|  | Driscopipe | Series 1000 |  |  |
|  | Chevron | Plexco |  |  |
| Painting Finish (Exterior): |  |  |  |  |
|  | Koppers | No. 505 |  |  |
|  | Carboline | Bitumastic 300M |  |  |
| Force Main Locating Wire (Single Strand 14-Gauge Solid Copper Wire with Light Green Colored Insulated Covering): |  |  |  |  |
|  | Copperhead CCS (Reinforced Tracer Wire) | 1230 HS | Open Cut Installation |  |
|  | Copperhead CCS (Reinforced Tracer Wire) | 1245 EHS | HDD Installation |  |
| Force Main Identification Tape (Light Green, 6-Inches Wide, 2-inches High Black Lettering, Adhesive Backed): |  |  |  |  |
|  | Pro-Line |  |  |  |
| Buried Force Main Warning Tape (Light Green, 3-inches Wide, 1-Inch High Black Lettering, Non-Adhesive Backed): |  |  |  |  |
|  | Pro-Line |  |  |  |
| Poly Pig: |  |  |  |  |
|  | Knapp Poly Pig |  |  |  |
|  | Girard Poly Pig |  |  |  |
| Wastewater Service Saddle (Ductile Iron Saddle Body, Stainless Steel Strap): |  |  |  |  |
|  | Romac | “CB” Sewer Saddle | For use with Lined VC Pipe |  |

| Wastewater Category 3 of 10: PIPE FITTINGS |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item To Be Used | Manufacturer |  | Part Number |  | Comments |  |  |
| Fittings (All Sizes), Compact, Ductile Iron (AWWA 153): |  |  |  |  |  |  |  |
|  | Star Pipe |  |  |  |  |  |  |
|  | American - USA |  |  |  |  |  |  |
|  | SIP Industries |  |  |  |  |  |  |
| Flange Adapters: |  |  |  |  |  |  |  |
|  | Rockwell International |  | Type 913 |  |  |  |  |
|  | Baker |  | Type 602 |  |  |  |  |
|  | Dresser International |  | Type 128 |  |  |  |  |
|  | Smith Blair |  | Series 900 |  |  |  |  |
|  | EBAA |  | MCGA Flange |  | Restraining |  |  |
|  | Romac |  | Alpha FCR |  | Restraining |  |  |
| Casing Spacers (All Sizes) Stainless Steel With Vinyl Runners Centering |  |  |  |  |  |  |  |
|  | Cascade |  |  | Series CCS/CCPS/AZ |  |  |  |
|  | RACI |  |  | Series S/T, F/G, P/Q, M/N, E/H |  |  |  |
| Interior Coatings - Ductile Iron Pipe : |  |  |  |  |  |  |  |
|  | Protecto 401 |  |  |  |  |  |  |
| Restrained Joints - Ductile Iron Pipe: |  |  |  |  |  |  |  |
|  | American Cast Iron Pipe |  |  | Flex Ring, Lok-Fast, or Lok-Ring |  |  |  |
|  | US Pipe & Foundry Company |  |  | TR-Flex or Lok-tyte |  |  |  |
| Mechanical Restraining Joints - Ductile Iron Pipe: |  |  |  |  |  |  |  |
|  | EBAA Iron Inc. |  | Megalug Series 1100, 1700, 3800 |  |  |  |  |
|  | Tyler Pipe |  | MJR |  |  |  |  |
|  | Star Pipe Products |  | Allgrip |  |  |  |  |
| Mechanical Restrained Joints - PVC Pipe: |  |  |  |  |  |  |  |
|  | Certain Teed Corporation |  |  |  |  |  |  |
|  | EBAA Iron Inc. |  | Megalug Series 2000PV |  |  |  |  |
| Tapping Sleeves - Smaller than 24-inch: |  |  |  |  |  |  |  |
|  | JCM |  | Model 432 |  |  |  |  |
|  | Mueller |  | H-304 SS |  |  |  |  |
|  | Romac |  | SST |  |  |  |  |
| Size on Size Tapping Sleeves: |  |  |  |  |  |  |  |
|  | Mueller |  | H-615, 616, 619 |  |  |  |  |
|  | American Flow Control |  | Series 2800 |  |  |  |  |
| Tapping Sleeves (Mechanical Joint): |  |  |  |  |  |  |  |
|  | JCM |  | Series 414 |  |  |  |  |
|  | Romac |  | SST-MJ |  |  |  |  |
| Anti-Sieze Lubricants: |  |  |  |  |  |  |  |
|  | Never Sieze |  |  |  |  |  |  |
|  | Bostik |  |  |  |  |  |  |
| Interior Coatings - Ductile Iron Fittings: |  |  |  |  |  |  |  |
|  | Protecto 401 |  |  |  |  |  |  |

| Wastewater Category 4 of 10: MANHOLES AND ACCESSORIES |  |  |  |
| --- | --- | --- | --- |
| Item To Be Used | Manufacturer | Part Number | Comments |
| Concrete Joint Seal: |  |  |  |
|  | K.T. Snyder Co. | Rub-R-Neck |  |
| Plastic Joint Sealer: |  |  |  |
|  | K.T. Snyder Co. | Ram Neck |  |
|  | Atlantic Concrete Product |  |  |
| Joint Wrap: |  |  |  |
|  | A-Lok | Butyl-Lok |  |
| Interior Manhole Coating: |  |  |  |
|  | Kerneos Aluminates | SewperCoat |  |
|  | Strong | Strong Seal HP |  |
| Manhole Boot: |  |  |  |
|  | Trelleborg | Kor-n-Seal |  |
|  | Link Seal | S-316 |  |
| Manhole Frame & Cover: |  |  |  |
|  | US Foundry | USF 170-E | ORS Gasketed |
|  | GMI Composite | Model 2600 F/C | Gasketed |
| Frame Adjustment Rings: |  |  |  |
|  | US Foundry | USF 2336 (2”), 2340 (1 ¾”) | Cast Iron Adjusting Ring |
|  | US Foundry | USF 1” ADJRING-33A (1”) | Steel Adjusting Ring |

| Wastewater Category 5 of 10: METALWORK |  |  |  |
| --- | --- | --- | --- |
| - Item To Be Used | Manufacturer | Part Number | Comments |
| Hatches (Gutter Type, Pad Lockable, Structural Aluminum, Diamond Pattern Surface): |  |  |  |
|  | Bilco |  | H-20 Loading |
|  | Halliday Products, Inc. |  | H-20 Loading |
|  | Babcock-Davis |  | H-20 Loading |
| Hatch Nets: |  |  |  |
|  | Safe Approach | Hatch Net 121 |  |
| Anti-Seize Lubricants: |  |  |  |
|  | Anti-Seize Technology | Pure White |  |
|  | Dixon Ticonderoga | AS-470 |  |
| Glass Capsule Polyester Resin Adhesive Anchors: |  |  |  |
|  | Hilti HVA |  |  |
|  | Cobra Anchors |  |  |
| Expanding-Type Anchors: |  |  |  |
|  | Trubolt Anchors | ITW Ramset/Redhead |  |
|  | McCullock Industries | Kwick-Bolt |  |
| Impact Anchors: |  |  |  |
|  | Hilti, Inc. | Metal Hit Anchors |  |
|  | Rawlplug Company | Rawl Zamac Nailin |  |
| Coatings: |  |  |  |
|  | Sherwin-Williams | Zinc-Clad XI |  |
|  | Alvin Products | Galvax |  |
|  | ZRC Worldwide | Galvite |  |

| Wastewater Category 6 of 10: FINISHES |  |  |  |
| --- | --- | --- | --- |
| - Item To Be Used | Manufacturer | Part Number | Comments |
| Paints: |  |  |  |
|  | Tnemec |  |  |
|  | Carboline |  |  |
|  | Ameron |  |  |
|  | International Coating, Inc. |  |  |
| Epoxy Polyamide Fillers: |  |  |  |
|  | Tnemec | 54-660 |  |
|  | Top Coat | Epoxy Block Filler |  |
|  | Ameron Nu-Klad | 105 |  |
|  | Keeler and Long | Kolor No. 3400 |  |
| Epoxy Polyamide: |  |  |  |
|  | Tnemec | 66-Color H.B. Epoxoline |  |
|  | Carboline | 890 |  |
|  | Ameron | Amercoat |  |
|  | Keeler & Long | Kolor-Poxy Primer No. 3200 |  |
| Bond Coat: |  |  |  |
|  | Kop-Coat | Bitumastic No. 300-M |  |
|  | Keeler & Long | CT 400 |  |
| Coal Tar Epoxy: |  |  |  |
|  | Kop-Coat | Bitumastic No. 300-M |  |
|  | Keeler & Long | CT 400 |  |
| Conditioner: |  |  |  |
|  | Kop-Coat | Bitumastic 2CB |  |
|  | Keeler & Long | CT 300 |  |
| Acrylic Coating: |  |  |  |
|  | Tnemec | Series 130-6602 Envirofill |  |
|  | Carboline | Flexxide |  |
|  | Keeler & Long | 6440 |  |
| Acrylic Emulsion: |  |  |  |
|  | Tnemec | Series 180 WB Tneme-crete |  |
|  | Carboline | D3359 |  |
|  | Keeler & Long | Aqua-Kolor Enamel W-2 Series |  |
| Ferrous Metal Epoxy Polyamide Primer: |  |  |  |
|  | Tnemec | 66-1211 Epoxy Primer |  |
|  | Carboline | 893 Primer |  |
|  | Ameron | Amercoat 71 |  |
|  | Keeler & Long | Kolor-Poxy Primer No. 3200 |  |
| Ferrous Metal Epoxy Polyamide: |  |  |  |
|  | Tnemec | 66-Color H.B. Epoxoline |  |
|  | Kop-Coat | Hi-Gard Epoxy |  |
|  | Carboline | 890 Epoxy |  |
|  | Keeler & Long | Kolor-Poxy Primer |  |
| Aliphatic Polyurethane: |  |  |  |
|  | Tnemec | 72-Color Endura |  |
|  | Carboline | 134 |  |
|  | Ameron | Amercoat |  |
|  | Keeler & Long | Acrythane Enamel |  |
| Aliphatic Polyurethane (when using roller): |  |  |  |
|  | Tnemec | 70 |  |
|  | Carboline | 134 (for roller) |  |
|  | Ameron | Amershield |  |
|  | Keeler & Long | Acrythane Enamel Y-1 Series |  |
| Epoxy Polyamide: |  |  |  |
|  | Tnemec | 140-1211 Porta-Pox Plus |  |
|  | Kop-Coat | 340 Gold Primer |  |
|  | Carboline | 187 Primer |  |
|  | Ameron | Amercoat 71 |  |
|  | Keeler & Long | Kolor-Poxy Primer No 3200 |  |
| Epoxy Amine-Cure: |  |  |  |
|  | Tnemec | 104 |  |
|  | Carboline | 187 Finish | Use 187 primer when not using shop primer) |
| Galvanized Steel Coating Wash Primer and/or Epoxy Polyamide: |  |  |  |
|  | Tnemec | 66-Color H.B. Epoxoline |  |
|  | Carboline | Rustbond Primer/Sealer |  |
|  | Ameron | Amchem Galvaprep, Amchem Aiodine 1200 plus Ameron Amerlock 400 | on Galvanized Steel on Aluminum |
|  | Keeler & Long | Vinyl Burtyral Wash Primer No. 7840 plus Kolor-Poxy Primer No. 3200 |  |
| Aliphatic Polyurethane: |  |  |  |
|  | Tnemec | 72 Color Endura Shield 11 | Gloss |
|  | Kop-Coat |  |  |
|  | Carboline | Carbothane 134 H.S. |  |
|  | Ameron | Amercoat 450 GL |  |
|  | Keeler & Long | Acrythane Enamel Y-1 Series |  |
| Aliphatic Polyurethane Gloss (when using roller): |  |  |  |
|  | Tnemec | 70-Color Endura Shield |  |
|  | Kop-Coat |  |  |
|  | Carboline |  |  |
|  | Ameron | Amershield |  |
|  | Keeler & Long | Acrythane Enamel Y-1 Series |  |
| Alternate Coating System: |  |  |  |
|  | Carboline | Galvanox Type 1 |  |
|  | Keeler & Long | No. 6820 |  |
| Zinc Chromate Primer: |  |  |  |
|  | Carboline | 1037WP |  |
|  | Keeler & Long | Vinyl-Brutyral Wash Primer No. 7840 |  |
| Aluminum Pigmented Epoxy Paint: |  |  |  |
|  | Carboline | Carbomastic 90 |  |
|  | Keeler & Long | Kolormastic No. 1000 |  |
| Coal Tar Epoxy, High Build: |  |  |  |
|  | Tnemec | 46H-413 |  |
|  | Kop-Coat | Bitumastic No. 300-M |  |
|  | Ameron | Amercoat 78HB |  |
|  | Keeler & Long | CT 400 |  |
| Quality Control: |  |  |  |
|  | Tinker & Rasor |  |  |
|  | K-D Bird Dog Holiday Detector |  |  |

| Wastewater Category 7 of 10: EQUIPMENT |  |  |  |
| --- | --- | --- | --- |
| - Item To Be Used | Manufacturer | Part Number | Comments |
| Submersible Pumps (Less than 30 hp): |  |  |  |
|  | Hydromatic |  |  |
|  | Flygt |  |  |
|  | Myers |  |  |
|  | ABS |  |  |
| Submersible Pumps (30 hp and greater): |  |  |  |
|  | Fairbanks |  |  |
| Variable Frequency Drives: |  |  |  |
|  | Allan Bradley | Powerflex 753 |  |
|  | Rockwell Automation |  |  |
| Tools: |  |  |  |
|  | Snap On |  |  |
|  | Crescent |  |  |
|  | Stanley |  |  |

| Wastewater Category 8 of 10: MECHANICAL |  |  |  |
| --- | --- | --- | --- |
| - Item To Be Used | Manufacturer | Part Number | Comments |
| Pipe Supports: |  |  |  |
|  | Grinnell Corporation |  |  |
|  | Tolco Incorporated |  |  |
|  | Basic Engineers, Inc. |  |  |
|  | Bergen-Paterson Pipe Support Company |  |  |
|  | NPS Products, Inc. |  |  |
|  | Power Piping Company |  |  |
| Magnetic Flow Meter: |  |  |  |
|  | Siemens | Model 5100W |  |
|  | Yokogawa |  |  |

| Wastewater Category 9 of 10: ELECTRICAL |  |  |  |  |
| --- | --- | --- | --- | --- |
| - Item To Be Used | Manufacturer | Part Number | Comments |  |
| Fire Resistant Sealant: |  |  |  |  |
|  | Dow Corning Corp. | Dow Corning Fire Stop Foam |  |  |
|  | General Electric Co. | Pensil 851 |  |  |
| Liquid Tight Metal Flexible Metal Conduit: |  |  |  |  |
|  | Carlon | Carflex |  |  |
|  | Sealtite |  |  |  |
| Conduit Bodies: |  |  |  |  |
|  | Appleton Electric (Division of Emerson Electric Company) |  |  |  |
|  | Arrow-Hart (Division of Crouse-Hinds Co.) |  |  |  |
|  | Bell Electric (Square D Co.) |  |  |  |
| Wire and Cable: |  |  |  |  |
|  | American Wire Institute |  |  |  |
|  | Carol Cable Co. Inc. |  |  |  |
|  | Rome Wire and Cable Co. |  |  |  |
|  | Southwire Company |  |  |  |
|  | Anaconda Company |  |  |  |
| Wire and Cable Connectors: |  |  |  |  |
|  | AMP |  |  |  |
|  | 3M Company |  |  |  |
|  | O-Z/Gedny Co. |  |  |  |
| Outlet Boxes: |  |  |  |  |
|  | Appleton Electric (Division of Emerson Electric Company) |  |  |  |
|  | Bell Electric (Square D Co.) |  |  |  |
|  | Eagle Electric Mfg Co. |  |  |  |
|  | OZ/Gedny Co. |  |  |  |
|  | Pass & Seymour |  |  |  |
|  | RACO Div; Harvey Hubbell, Inc. |  |  |  |
|  | Thomas & Betts Co. |  |  |  |
| Junction/Pull Boxes: |  |  |  |  |
|  | Hoffman Enclosures |  |  |  |
|  | Appleton Electric (Division of Emerson Electric Company) |  |  |  |
|  | Arrow-Hart (Division of Crouse-Hinds Co.) |  |  |  |
|  | Bell Electric (Square D Co.) |  |  |  |
|  | Keystone Columbia Inc. |  |  |  |
|  | OZ/Gedny Co. |  |  |  |
|  | Spring City Electrical MFG Co. |  |  |  |
| Bushings, Knockout Closures, and Locknuts: |  |  |  |  |
|  | Arrow-Hart (Division of Crouse-Hinds Co.) |  |  |  |
|  | Appleton Electric (Division of Emerson Electric Company) |  |  |  |
|  | Midwest Electric (Cooper Industries, Inc.) |  |  |  |
|  | OZ/Gedny Co. |  |  |  |
|  | RACO Div; Harvey Hubbell, Inc. |  |  |  |
|  | Thomas & Betts Co. |  |  |  |
| Wiring Devices: |  |  |  |  |
|  | Crouse-Kinds Co. |  |  |  |
|  | Hubbell Inc. |  |  |  |
|  | Pass and Seymour |  |  |  |
|  | Slater Electric Co. |  |  |  |
| Receptacle: |  |  |  |  |
|  | Leviton | 5362-1 Type Duplex |  |  |
| GFI: |  |  |  |  |
|  | Leviton | No. 6898-1 |  |  |
| Snap Switches: |  |  |  |  |
|  | Leviton | 5521 |  |  |
| Electrical Connections: |  |  |  |  |
|  | AMP Incorporated |  |  |  |
|  | Appleton Electric (Division of Emerson Electric Company) |  |  |  |
|  | Arrow-Hart (Division of Crouse-Hinds Co.) |  |  |  |
|  | Burndy Corporation |  |  |  |
|  | Eagle Electric Mfg Co. |  |  |  |
| Circuit and Motor Disconnections: |  |  |  |  |
|  | Square D |  |  |  |
|  | Cutler-Hammer |  |  |  |
|  | General Electric Co. |  |  |  |
|  | Siemens |  |  |  |
| Anchors: |  |  |  |  |
|  | Ideal Industries, Inc. |  |  |  |
|  | Joslyn Mfg and Supply Co. |  |  |  |
|  | McGraw Edison Co. |  |  |  |
|  | U.S. Expansion Bolt Co. |  |  |  |
| Channel Systems: |  |  |  |  |
|  | Allied Tube and Conduit Corp. |  |  |  |
|  | B-Line Systems, Inc. |  |  |  |
|  | Greenfield Mfg Co. |  |  |  |
|  | Midland-Ross Corp. |  |  |  |
|  | OZ/Gedney Co. |  |  |  |
|  | Unistrut Division (GTE Products Corp.) |  |  |  |
| Electrical Identification |  |  |  |  |
|  | Alarm Supply Co. |  |  |  |
|  | Brady, W.H. Co. |  |  |  |
|  | Calpico, Inc. |  |  |  |
|  | Cole-Flex Corp. |  |  |  |
|  | Direct Safety Co. |  |  |  |
|  | George-Ingraham Corp. |  |  |  |
|  | Griffolyn Company |  |  |  |
|  | Ideal Industries, Inc. |  |  |  |
| Metal Enclosed Load Interrupter Switchgear: |  |  |  |  |
|  | Square D | HVL/CC |  |  |
| Medium Voltage Switchgear, Transformers, Surge Suppressors |  |  |  |  |
|  | Eaton-Cutler Hammer |  |  |  |
| Buss Joints: |  |  |  |  |
|  | Belleville |  |  |  |
| Ground Clamps: |  |  |  |  |
|  | OZ Electrical | Type CG |  |  |
| Transformers: |  |  |  |  |
|  | General Electric Co. |  |  |  |
|  | Hevi-Duty Electric |  |  |  |
|  | Square D |  |  |  |
|  | Eaton-Cutler Hammer |  |  |  |
| Panelboards: |  |  |  |  |
|  | Cutler-Hammer |  |  |  |
|  | General Electric Co. |  |  |  |
|  | Square D |  |  |  |
|  | Siemens |  |  |  |
| Exterior Lighting Fixtures: |  |  |  |  |
|  | Metalux |  |  |  |
|  | Columbia Lighting Inc. |  |  |  |
|  | Hubbell Inc. |  |  |  |
|  | Lithonia |  |  |  |
|  | Evolucia |  |  |  |
| Surge Suppression: |  |  |  |  |
|  | Leviton |  |  |  |
|  | Advanced Protection Technology |  |  |  |
|  | Edco Company |  |  |  |

| Wastewater Category 10 of 10: INSTRUMENTATION |  |  |  |
| --- | --- | --- | --- |
| - Item To Be Used | Manufacturer | Part Number | Comments |
| Distributed Control System: |  |  |  |
|  | Centum VP | Yokogawa |  |